## LCOSL
System | Type | Sizings of Individual Tests | [6 empty] | Analysis of Prices associated with sizing tests
[53 empty] | CAPEX+OPEX over 25 years (thousands of £) |  |  |  | FX separately listed for the sake of showing fuel consumption costs | [5 empty] | Levelized Cost of Supplied Load
HBES | [33 empty] | (6.5%DR) |  |  | Colour Scheme | [16 empty] | WT | PV | HT | CNV | LYS | BTT | TNK | HB | CB | LCOSL (6.5%) | LCOSL (1.84%) | HBES Systems and Conventional Systems | Comparison of the Optimised Best Systems: |  |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | CB | LCOSL (6.5%) | LCOSL (1.84%)
| Tri | [9 empty] | 2 | 3 | 4 | 5 | 6 |  |  | 2 | 3 | 4 | 5 | 6 |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | TUEX | LCOSL |  |  | WT | 0E2346 |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | LCOSL (6.5%DR) |  | HBES | Tri | WT-PV-HT | 2 | 58.464 | 27.729 | 45.6 | 74.865 | 15.7349 | 15.705 | 37.671 | 0.7315 |  | 0.98 | 0.81 |  |  | HBES | Tri | WT-PV-HT | 35.0784 | 19.197 | 38 | 61.065 | 15.5754 | 6.282 | 75.3421 | 0.7315 | 0 | 0.88 | 0.73
|  | Tri Sys | WT-PV-HT | F-2 | F-3 | F-4 | F-5 | F-6 | CX | WT | 46400 | 39440 | 27840 | 25520 | 25520 | CX | WT | 46.4 | 39.44 | 27.84 | 25.52 | 25.52 | 2 | CX | 46.4 | 25.87 | 30 | 49.45 | 11.85 | 12 | 32.106 | 0.58056 | 276.5005 | 0.98 | 1.5 | 1.5 | PV | 4B5A75 | 2 | 58.464 | 27.729 | 45.6 | 74.865 | 15.7349 | 15.705 | 37.671 | 0.7315 | 0.98 | 1 |  |  |  | 3 | 49.6944 | 17.064 | 38 | 65.665 | 15.6253 | 15.0768 | 56.5066 | 0.7315 |  | 0.91 | 0.75 |  |  |  | Bi | WT-PV | 78.9264 | 14.931 | 7.6e-08 | 82.915 | 24.1866 | 11.9358 | 75.3421 | 0.75403 | 0 | 1 | 0.84
| kW | WT |  | 20 | 17 | 12 | 11 | 11 |  | PV | 25870 | 15920 | 17910 | 17910 | 15920 |  | PV | 25.87 | 15.92 | 17.91 | 17.91 | 15.92 |  | OX | 12.064 | 1.859 | 15.6 | 25.415 | 3.8849 | 3.705 | 5.565 | 0.15094 |  | 0.91 | 3.5 |  | HT | 8791A3 | 3 | 49.6944 | 17.064 | 38 | 65.665 | 15.6253 | 15.0768 | 56.5066 | 0.7315 | 0.91 | 2 |  |  |  | 4 | 35.0784 | 19.197 | 38 | 61.065 | 15.5754 | 6.282 | 75.3421 | 0.7315 |  | 0.88 | 0.73 |  |  |  |  | WT-HT | 76.0032 | 2.133e-07 | 22.8 | 72.565 | 16.9185 | 15.705 | 75.3421 | 0.75403 | 0 | 0.98 | 0.82
| kW | PV |  | 13 | 8 | 9 | 9 | 8 |  | HT | 30000 | 25000 | 25000 | 20000 | 20000 |  | HT | 30 | 25 | 25 | 20 | 20 | 3 | CX | 39.44 | 15.92 | 25 | 40.25 | 11.85 | 11.52 | 48.159 | 0.58056 | 258.3636 | 0.88 | 5.5 | 3.5 | CNV | CF9C30 | 4 | 35.0784 | 19.197 | 38 | 61.065 | 15.5754 | 6.282 | 75.3421 | 0.7315 | 0.88 | 3 |  |  |  | 5 | 32.1552 | 19.197 | 30.4 | 58.765 | 15.5425 | 11.3076 | 94.1776 | 0.75403 |  | 0.9 | 0.76 |  |  |  |  | PV-HT | 2.9232e-09 | 51.192 | 53.2 | 64.515 | 15.6681 | 13.1922 | 113.0131 | 0.7315 | 0 | 1.09 | 0.91
| kW | HT |  | 6 | 5 | 5 | 4 | 4 |  | CNV | 49450 | 40250 | 35650 | 33350 | 32200 |  | CNV | 49.45 | 40.25 | 35.65 | 33.35 | 32.2 |  | OX | 10.2544 | 1.144 | 13 | 25.415 | 3.7753 | 3.5568 | 8.3476 | 0.15094 |  | 0.9 | 7.5 |  | LYS | DBB564 | 5 | 32.1552 | 19.197 | 30.4 | 58.765 | 15.5425 | 11.3076 | 94.1776 | 0.75403 | 0.9 | 4 |  |  |  | 6 | 32.1552 | 17.064 | 30.4 | 57.615 | 15.5339 | 15.705 | 113.0131 | 0.75403 |  | 0.96 | 0.82 |  |  |  | Uni | WT | 114.0048 | 2.133e-11 | 7.6e-13 | 90.965 | 24.254 | 15.705 | 75.3421 | 0.75403 | 0 | 1.11 | 0.93
| kWh | BTT |  | 25 | 24 | 10 | 18 | 25 |  | LYS | 11850 | 11850 | 11850 | 11850 | 11850 |  | LYS | 11.85 | 11.85 | 11.85 | 11.85 | 11.85 | 4 | CX | 27.84 | 17.91 | 25 | 35.65 | 11.85 | 4.8 | 64.212 | 0.58056 | 251.2714 | 0.96 | 9.5 | 5.5 | TNK | EF2023 | 6 | 32.1552 | 17.064 | 30.4 | 57.615 | 15.5339 | 15.705 | 113.0131 | 0.75403 | 0.96 | 5 |  | Bi | WT-PV | 2 | 116.928 | 59.724 | 7.6e-08 | 118.565 | 24.6874 | 13.1922 | 37.671 | 0.7315 |  | 1.29 | 1.08 |  |  | AS | Control | Gas | [8 empty] | 16.0327 |  | 0.04
| kW | LYS | Const. | 5 | 5 | 5 | 5 | 5 |  | BTT | 12000 | 11520 | 4800 | 8640 | 12000 |  | BTT | 12 | 11.52 | 4.8 | 8.64 | 12 |  | OX | 7.2384 | 1.287 | 13 | 25.415 | 3.7254 | 1.482 | 11.1301 | 0.15094 |  |  |  |  | BTT | F3585A | [14 empty] | 3 | 96.4656 | 19.197 | 7.6e-08 | 92.115 | 24.3161 | 11.9358 | 56.5066 | 0.75403 |  | 1.05 | 0.88 |  |  |  | Contemporary | Oil | [8 empty] | 14.9232 |  | 0.04
|  | TNK | alter | 2 | 3 | 4 | 5 | 6 |  | TNK | 32106 | 48159 | 64212 | 80265 | 96318 |  | TNK | 32.106 | 48.159 | 64.212 | 80.265 | 96.318 | 5 | CX | 25.52 | 17.91 | 20 | 33.35 | 11.85 | 8.64 | 80.265 | 0.59843 | 262.299 |  |  | 7.5 | HB | E7CE98 | [14 empty] | 4 | 78.9264 | 14.931 | 7.6e-08 | 82.915 | 24.1866 | 11.9358 | 75.3421 | 0.75403 |  | 1 | 0.84 |  |  |  |  | LPG | [8 empty] | 17.5273 |  | 0.05
|  | LCOSL (6.5%) |  | 0.98 | 0.91 | 0.88 | 0.9 | 0.96 |  | HB | 580.5561 | 580.5561 | 580.5561 | 598.4346 | 598.4346 |  | HB | 0.58056 | 0.58056 | 0.58056 | 0.59843 | 0.59843 |  | OX | 6.6352 | 1.287 | 10.4 | 25.415 | 3.6925 | 2.6676 | 13.9126 | 0.15559 | [20 empty] | 5 | 73.08 | 14.931 | 7.6e-08 | 80.615 | 24.1515 | 12.564 | 94.1776 | 0.7315 |  | 1.03 | 0.87 |  |  |  | Future | EL. | [8 empty] | 61.3613 |  | 0.17
|  | LCOSL (6%) |  | 0.96 | 0.89 | 0.86 | 0.88 | 0.95 | OX | WT | 12064 | 10254.4 | 7238.4 | 6635.2 | 6635.2 | OX | WT | 12.064 | 10.2544 | 7.2384 | 6.6352 | 6.6352 | 6 | CX | 25.52 | 15.92 | 20 | 32.2 | 11.85 | 12 | 96.318 | 0.59843 | 282.2402 |  |  | 9.5 | [16 empty] | 6 | 67.2336 | 19.197 | 7.6e-08 | 80.615 | 24.1445 | 9.423 | 113.0131 | 0.75403 |  | 1.06 | 0.91 |  |  |  |  | BLPG | [8 empty] | 20.0555 |  | 0.06
|  | LCOSL (5%) |  | 0.93 | 0.85 | 0.83 | 0.85 | 0.91 |  | PV | 1859 | 1144 | 1287 | 1287 | 1144 |  | PV | 1.859 | 1.144 | 1.287 | 1.287 | 1.144 |  | OX | 6.6352 | 1.144 | 10.4 | 25.415 | 3.6839 | 3.705 | 16.6951 | 0.15559 |  |  |  |  | LCOSL | F79091 | [13 empty] | WT-HT | 2 | 169.5456 | 2.133e-07 | 30.4 | 110.515 | 27.839 | 15.705 | 37.671 | 0.7315 |  | 1.37 | 1.14
|  | LCOSL (4%) |  | 0.89 | 0.82 | 0.8 | 0.82 | 0.88 |  | HT | 15600 | 13000 | 13000 | 10400 | 10400 |  | HT | 15.6 | 13 | 13 | 10.4 | 10.4 | [30 empty] | 3 | 105.2352 | 2.133e-07 | 22.8 | 84.065 | 17.0156 | 15.705 | 56.5066 | 0.75403 |  | 1.06 | 0.88
|  | LCOSL (3%) |  | 0.85 | 0.79 | 0.77 | 0.8 | 0.86 |  | CNV | 25415 | 25415 | 25415 | 25415 | 25415 |  | CNV | 25.415 | 25.415 | 25.415 | 25.415 | 25.415 | [30 empty] | 4 | 76.0032 | 2.133e-07 | 22.8 | 72.565 | 16.9185 | 15.705 | 75.3421 | 0.75403 |  | 0.98 | 0.82
|  | LCOSL (2%) |  | 0.82 | 0.77 | 0.74 | 0.77 | 0.83 |  | LYS | 3884.912 | 3775.3476 | 3725.3744 | 3692.5351 | 3683.8908 |  | LYS | 3.8849 | 3.7753 | 3.7254 | 3.6925 | 3.6839 | [14 empty] | Opacity alterations required | [15 empty] | 5 | 78.9264 | 2.133e-07 | 15.2 | 72.565 | 16.8861 | 15.0768 | 94.1776 | 0.75403 |  | 1.01 | 0.85
|  | LCOSL (1%) |  | 0.79 | 0.74 | 0.72 | 0.75 | 0.8 |  | BTT | 3705 | 3556.8 | 1482 | 2667.6 | 3705 |  | BTT | 3.705 | 3.5568 | 1.482 | 2.6676 | 3.705 | [30 empty] | 6 | 73.08 | 2.133e-07 | 15.2 | 70.265 | 16.8468 | 8.7948 | 113.0131 | 0.7315 |  | 1.03 | 0.87
|  | LCOSL (0%) |  | 0.77 | 0.72 | 0.7 | 0.73 | 0.78 |  | TNK | 5565.04 | 8347.56 | 11130.08 | 13912.6 | 16695.12 |  | TNK | 5.565 | 8.3476 | 11.1301 | 13.9126 | 16.6951 | [29 empty] | PV-HT | 2 | 2.9232e-09 | 187.704 | 68.4 | 127.765 | 15.8431 | 15.705 | 37.671 | 0.7315 |  | 1.62 | 1.32
|  | LCOSL (1.58%) |  | 0.81 | 0.75 | 0.73 | 0.76 | 0.82 |  | HB | 150.9446 | 150.9446 | 150.9446 | 155.593 | 155.593 |  | HB | 0.15094 | 0.15094 | 0.15094 | 0.15559 | 0.15559 | [30 empty] | 3 | 2.9232e-09 | 136.512 | 53.2 | 102.465 | 15.7897 | 15.705 | 56.5066 | 0.75403 |  | 1.34 | 1.11
[53 empty] | 4 | 2.9232e-09 | 95.985 | 53.2 | 84.065 | 15.7352 | 12.564 | 75.3421 | 0.7315 |  | 1.19 | 0.98
[53 empty] | 5 | 2.9232e-09 | 68.256 | 53.2 | 71.415 | 15.7209 | 15.705 | 94.1776 | 0.7315 |  | 1.12 | 0.93
| Dual | [9 empty] | 2 | 3 | 4 | 5 | 6 |  |  | 2 | 3 | 4 | 5 | 6 |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | Undiscounted CX+OX | LCOSL | [18 empty] | 6 | 2.9232e-09 | 51.192 | 53.2 | 64.515 | 15.6681 | 13.1922 | 113.0131 | 0.7315 |  | 1.09 | 0.91
|  | Bi Sys | WT-PV | F-2 | F-3 | F-4 | F-5 | F-6 | CX | WT | 92800 | 76560 | 62640 | 58000 | 53360 | CX | WT | 92.8 | 76.56 | 62.64 | 58 | 53.36 | 2 | CX | 92.8 | 55.72 | 5e-08 | 93.15 | 15.405 | 10.08 | 32.106 | 0.58056 | 371.4991 | [16 empty] | AS |  | Ctrl. | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.0327 |  | 0.04
|  | WT |  | 40 | 33 | 27 | 25 | 23 |  | PV | 55720 | 17910 | 13930 | 13930 | 17910 |  | PV | 55.72 | 17.91 | 13.93 | 13.93 | 17.91 |  | OX | 24.128 | 4.004 | 2.6e-08 | 25.415 | 9.2824 | 3.1122 | 5.565 | 0.15094 |  | 1.29 | [17 empty] | Ctmp. | Oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.9232 |  | 0.04 | [16 empty] | Colour Scheme
|  | PV |  | 28 | 9 | 7 | 7 | 9 |  | HT | 5e-05 | 5e-05 | 5e-05 | 5e-05 | 5e-05 |  | HT | 5e-08 | 5e-08 | 5e-08 | 5e-08 | 5e-08 | 3 | CX | 76.56 | 17.91 | 5e-08 | 66.7 | 15.405 | 9.12 | 48.159 | 0.59843 | 301.2901 | [19 empty] | LPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.5273 |  | 0.05 | [17 empty] | WT
|  | HT |  | 0 | 0 | 0 | 0 | 0 |  | CNV | 93150 | 66700 | 57500 | 55200 | 55200 |  | CNV | 93.15 | 66.7 | 57.5 | 55.2 | 55.2 |  | OX | 19.9056 | 1.287 | 2.6e-08 | 25.415 | 8.9111 | 2.8158 | 8.3476 | 0.15559 |  | 1.05 | [17 empty] | Ftr. | EL. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.3613 |  | 0.17 | [17 empty] | PV
|  | BTT |  | 21 | 19 | 19 | 20 | 15 |  | LYS | 15405 | 15405 | 15405 | 15405 | 15405 |  | LYS | 15.405 | 15.405 | 15.405 | 15.405 | 15.405 | 4 | CX | 62.64 | 13.93 | 5e-08 | 57.5 | 15.405 | 9.12 | 64.212 | 0.59843 | 288.9909 | [19 empty] | BLPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.0555 |  | 0.06 | [17 empty] | HT
|  | LYS | Const. | 13 | 13 | 13 | 13 | 13 |  | BTT | 10080 | 9120 | 9120 | 9600 | 7200 |  | BTT | 10.08 | 9.12 | 9.12 | 9.6 | 7.2 |  | OX | 16.2864 | 1.001 | 2.6e-08 | 25.415 | 8.7816 | 2.8158 | 11.1301 | 0.15559 |  | 1 | [47 empty] | BTT
|  | TNK | alter | 2 | 3 | 4 | 5 | 6 |  | TNK | 32106 | 48159 | 64212 | 80265 | 96318 |  | TNK | 32.106 | 48.159 | 64.212 | 80.265 | 96.318 | 5 | CX | 58 | 13.93 | 5e-08 | 55.2 | 15.405 | 9.6 | 80.265 | 0.58056 | 300.2506 | [48 empty] | LYS
|  | LCOSL |  | 1.29 | 1.05 | 1 | 1.03 | 1.06 |  | HB | 580.5561 | 598.4346 | 598.4346 | 580.5561 | 598.4346 |  | HB | 0.58056 | 0.59843 | 0.59843 | 0.58056 | 0.59843 |  | OX | 15.08 | 1.001 | 2.6e-08 | 25.415 | 8.7465 | 2.964 | 13.9126 | 0.15094 |  | 1.03 | [47 empty] | TNK
|  | COSL (wrong) |  | 0.66 | 0.53 | 0.51 | 0.52 | 0.55 | OX | WT | 24128 | 19905.6 | 16286.4 | 15080 | 13873.6 | OX | WT | 24.128 | 19.9056 | 16.2864 | 15.08 | 13.8736 | 6 | CX | 53.36 | 17.91 | 5e-08 | 55.2 | 15.405 | 7.2 | 96.318 | 0.59843 | 314.3802 | [31 empty] | HBES Systems | [16 empty] | Overall
|  | LCOSL (1.58%) |  | 1.08 | 0.88 | 0.84 | 0.87 | 0.91 |  | PV | 4004 | 1287 | 1001 | 1001 | 1287 |  | PV | 4.004 | 1.287 | 1.001 | 1.001 | 1.287 |  | OX | 13.8736 | 1.287 | 2.6e-08 | 25.415 | 8.7395 | 2.223 | 16.6951 | 0.15559 |  | 1.06 | [18 empty] | CAPEX+OPEX over 25 years (thousands of £) |  |  |  | FX separately listed for the sake of showing fuel consumption costs | [5 empty] | Levelized Cost of Supplied Load | 0
[10 empty] | HT | 2.6e-05 | 2.6e-05 | 2.6e-05 | 2.6e-05 | 2.6e-05 |  | HT | 2.6e-08 | 2.6e-08 | 2.6e-08 | 2.6e-08 | 2.6e-08 | [31 empty] | WT | PV | HT | CNV | LYS | BTT | TNK | HB | CB | LCOSL (6.5%) | LCOSL (1.84%)
[10 empty] | CNV | 25415 | 25415 | 25415 | 25415 | 25415 |  | CNV | 25.415 | 25.415 | 25.415 | 25.415 | 25.415 | [27 empty] | HBES | Tri | WT-PV-HT | 2 | 58.464 | 27.729 | 45.6 | 74.865 | 15.7349 | 15.705 | 37.671 | 0.7315 |  | 0.98 | 0.81
[10 empty] | LYS | 9282.3896 | 8911.1227 | 8781.5708 | 8746.5095 | 8739.4594 |  | LYS | 9.2824 | 8.9111 | 8.7816 | 8.7465 | 8.7395 | [30 empty] | 3 | 49.6944 | 17.064 | 38 | 65.665 | 15.6253 | 15.0768 | 56.5066 | 0.7315 |  | 0.91 | 0.75
[10 empty] | BTT | 3112.2 | 2815.8 | 2815.8 | 2964 | 2223 |  | BTT | 3.1122 | 2.8158 | 2.8158 | 2.964 | 2.223 | [30 empty] | 4 | 35.0784 | 19.197 | 38 | 61.065 | 15.5754 | 6.282 | 75.3421 | 0.7315 |  | 0.88 | 0.73
[10 empty] | TNK | 5565.04 | 8347.56 | 11130.08 | 13912.6 | 16695.12 |  | TNK | 5.565 | 8.3476 | 11.1301 | 13.9126 | 16.6951 | [30 empty] | 5 | 32.1552 | 19.197 | 30.4 | 58.765 | 15.5425 | 11.3076 | 94.1776 | 0.75403 |  | 0.9 | 0.76
[10 empty] | HB | 150.9446 | 155.593 | 155.593 | 150.9446 | 155.593 |  | HB | 0.15094 | 0.15559 | 0.15559 | 0.15094 | 0.15559 | [30 empty] | 6 | 32.1552 | 17.064 | 30.4 | 57.615 | 15.5339 | 15.705 | 113.0131 | 0.75403 |  | 0.96 | 0.82
[51 empty] | Bi | WT-PV | 2 | 116.928 | 59.724 | 7.6e-08 | 118.565 | 24.6874 | 13.1922 | 37.671 | 0.7315 |  | 1.29 | 1.08
[53 empty] | 3 | 96.4656 | 19.197 | 7.6e-08 | 92.115 | 24.3161 | 11.9358 | 56.5066 | 0.75403 |  | 1.05 | 0.88
| Dual | [9 empty] | 2 | 3 | 4 | 5 | 6 |  |  | 2 | 3 | 4 | 5 | 6 |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | Undiscounted CX+OX | LCOSL | [18 empty] | 4 | 78.9264 | 14.931 | 7.6e-08 | 82.915 | 24.1866 | 11.9358 | 75.3421 | 0.75403 |  | 1 | 0.84
|  | Bi Sys | WT-HT | F-2 | F-3 | F-4 | F-5 | F-6 | CX | WT | 134560 | 83520 | 60320 | 62640 | 58000 | CX | WT | 134.56 | 83.52 | 60.32 | 62.64 | 58 | 2 | CX | 134.56 | 1.99e-07 | 20 | 85.1 | 21.33 | 12 | 32.106 | 0.58056 | 392.4072 | [19 empty] | 5 | 73.08 | 14.931 | 7.6e-08 | 80.615 | 24.1515 | 12.564 | 94.1776 | 0.7315 |  | 1.03 | 0.87
|  | WT |  | 58 | 36 | 26 | 27 | 25 |  | PV | 0.000199 | 0.000199 | 0.000199 | 0.000199 | 0.000199 |  | PV | 1.99e-07 | 1.99e-07 | 1.99e-07 | 1.99e-07 | 1.99e-07 |  | OX | 34.9856 | 1.43e-08 | 10.4 | 25.415 | 6.509 | 3.705 | 5.565 | 0.15094 |  | 1.37 | [18 empty] | 6 | 67.2336 | 19.197 | 7.6e-08 | 80.615 | 24.1445 | 9.423 | 113.0131 | 0.75403 |  | 1.06 | 0.91
|  | PV |  | 0 | 0 | 0 | 0 | 0 |  | HT | 20000 | 15000 | 15000 | 10000 | 10000 |  | HT | 20 | 15 | 15 | 10 | 10 | 3 | CX | 83.52 | 1.99e-07 | 15 | 58.65 | 10.665 | 12 | 48.159 | 0.59843 | 302.0813 | [18 empty] | WT-HT | 2 | 169.5456 | 2.133e-07 | 30.4 | 110.515 | 27.839 | 15.705 | 37.671 | 0.7315 |  | 1.37 | 1.14
|  | HT |  | 4 | 3 | 3 | 2 | 2 |  | CNV | 85100 | 58650 | 47150 | 47150 | 44850 |  | CNV | 85.1 | 58.65 | 47.15 | 47.15 | 44.85 |  | OX | 21.7152 | 1.43e-08 | 7.8 | 25.415 | 6.3506 | 3.705 | 8.3476 | 0.15559 |  | 1.06 | [18 empty] | 3 | 105.2352 | 2.133e-07 | 22.8 | 84.065 | 17.0156 | 15.705 | 56.5066 | 0.75403 |  | 1.06 | 0.88
|  | BTT |  | 25 | 25 | 25 | 24 | 14 |  | LYS | 21330 | 10665 | 10665 | 10665 | 10665 |  | LYS | 21.33 | 10.665 | 10.665 | 10.665 | 10.665 | 4 | CX | 60.32 | 1.99e-07 | 15 | 47.15 | 10.665 | 12 | 64.212 | 0.59843 | 280.0878 | [19 empty] | 4 | 76.0032 | 2.133e-07 | 22.8 | 72.565 | 16.9185 | 15.705 | 75.3421 | 0.75403 |  | 0.98 | 0.82
|  | LYS | Const. | 9 | 9 | 9 | 9 | 9 |  | BTT | 12000 | 12000 | 12000 | 11520 | 6720 |  | BTT | 12 | 12 | 12 | 11.52 | 6.72 |  | OX | 15.6832 | 1.43e-08 | 7.8 | 25.415 | 6.2535 | 3.705 | 11.1301 | 0.15559 |  | 0.98 | [18 empty] | 5 | 78.9264 | 2.133e-07 | 15.2 | 72.565 | 16.8861 | 15.0768 | 94.1776 | 0.75403 |  | 1.01 | 0.85
|  | TNK | alter | 2 | 3 | 4 | 5 | 6 |  | TNK | 32106 | 48159 | 64212 | 80265 | 96318 |  | TNK | 32.106 | 48.159 | 64.212 | 80.265 | 96.318 | 5 | CX | 62.64 | 1.99e-07 | 10 | 47.15 | 10.665 | 11.52 | 80.265 | 0.59843 | 293.5859 | [19 empty] | 6 | 73.08 | 2.133e-07 | 15.2 | 70.265 | 16.8468 | 8.7948 | 113.0131 | 0.7315 |  | 1.03 | 0.87
|  | LCOSL |  | 1.37 | 1.06 | 0.98 | 1.01 | 1.03 |  | HB | 580.5561 | 598.4346 | 598.4346 | 598.4346 | 580.5561 |  | HB | 0.58056 | 0.59843 | 0.59843 | 0.59843 | 0.58056 |  | OX | 16.2864 | 1.43e-08 | 5.2 | 25.415 | 6.2211 | 3.5568 | 13.9126 | 0.15559 |  | 1.01 | [17 empty] | PV-HT | 2 | 2.9232e-09 | 187.704 | 68.4 | 127.765 | 15.8431 | 15.705 | 37.671 | 0.7315 |  | 1.62 | 1.32
|  | COSL (wrong) |  | 0.7 | 0.54 | 0.5 | 0.52 | 0.52 | OX | WT | 34985.6 | 21715.2 | 15683.2 | 16286.4 | 15080 | OX | WT | 34.9856 | 21.7152 | 15.6832 | 16.2864 | 15.08 | 6 | CX | 58 | 1.99e-07 | 10 | 44.85 | 10.665 | 6.72 | 96.318 | 0.58056 | 297.9312 | [19 empty] | 3 | 2.9232e-09 | 136.512 | 53.2 | 102.465 | 15.7897 | 15.705 | 56.5066 | 0.75403 |  | 1.34 | 1.11
|  | LCOSL (1.58%) |  | 1.14 | 0.88 | 0.82 | 0.85 | 0.87 |  | PV | 1.43e-05 | 1.43e-05 | 1.43e-05 | 1.43e-05 | 1.43e-05 |  | PV | 1.43e-08 | 1.43e-08 | 1.43e-08 | 1.43e-08 | 1.43e-08 |  | OX | 15.08 | 1.43e-08 | 5.2 | 25.415 | 6.1818 | 2.0748 | 16.6951 | 0.15094 |  | 1.03 | [18 empty] | 4 | 2.9232e-09 | 95.985 | 53.2 | 84.065 | 15.7352 | 12.564 | 75.3421 | 0.7315 |  | 1.19 | 0.98
[10 empty] | HT | 10400 | 7800 | 7800 | 5200 | 5200 |  | HT | 10.4 | 7.8 | 7.8 | 5.2 | 5.2 | [30 empty] | 5 | 2.9232e-09 | 68.256 | 53.2 | 71.415 | 15.7209 | 15.705 | 94.1776 | 0.7315 |  | 1.12 | 0.93
[10 empty] | CNV | 25415 | 25415 | 25415 | 25415 | 25415 |  | CNV | 25.415 | 25.415 | 25.415 | 25.415 | 25.415 | [30 empty] | 6 | 2.9232e-09 | 51.192 | 53.2 | 64.515 | 15.6681 | 13.1922 | 113.0131 | 0.7315 |  | 1.09 | 0.91
[10 empty] | LYS | 6509.0313 | 6350.551 | 6253.5072 | 6221.1101 | 6181.8013 |  | LYS | 6.509 | 6.3506 | 6.2535 | 6.2211 | 6.1818 | [28 empty] | Uni | WT | 2 | 263.088 | 2.133e-11 | 7.6e-13 | 149.615 | 24.5961 | 15.705 | 37.671 | 0.7315 |  | 1.72 | 1.43
[10 empty] | BTT | 3705 | 3705 | 3705 | 3556.8 | 2074.8 |  | BTT | 3.705 | 3.705 | 3.705 | 3.5568 | 2.0748 | [30 empty] | 3 | 128.6208 | 2.133e-11 | 7.6e-13 | 96.715 | 24.3065 | 13.8204 | 56.5066 | 0.75403 |  | 1.12 | 0.93
[10 empty] | TNK | 5565.04 | 8347.56 | 11130.08 | 13912.6 | 16695.12 |  | TNK | 5.565 | 8.3476 | 11.1301 | 13.9126 | 16.6951 | [30 empty] | 4 | 114.0048 | 2.133e-11 | 7.6e-13 | 90.965 | 24.254 | 15.705 | 75.3421 | 0.75403 |  | 1.11 | 0.93
[10 empty] | HB | 150.9446 | 155.593 | 155.593 | 155.593 | 150.9446 |  | HB | 0.15094 | 0.15559 | 0.15559 | 0.15559 | 0.15094 | [30 empty] | 5 | 105.2352 | 2.133e-11 | 7.6e-13 | 87.515 | 24.1983 | 8.7948 | 94.1776 | 0.75403 |  | 1.11 | 0.93
[53 empty] | 6 | 96.4656 | 2.133e-11 | 7.6e-13 | 84.065 | 24.1545 | 8.7948 | 113.0131 | 0.75403 |  | 1.13 | 0.95
[52 empty] | PV | 2 | 2.9232e-11 | 693.225 | 7.6e-13 | 370.415 | 41.7119 | 15.705 | 37.671 | 0.75403 |  | 4.02 | 3.34
| Dual | [9 empty] | 2 | 3 | 4 | 5 | 6 |  |  | 2 | 3 | 4 | 5 | 6 |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | Undiscounted CX+OX | LCOSL | [18 empty] | 3 | 2.9232e-11 | 528.984 | 7.6e-13 | 293.365 | 37.871 | 15.705 | 56.5066 | 0.75403 |  | 3.23 | 2.69
|  | Bi Sys | PV-HT | F-2 | F-3 | F-4 | F-5 | F-6 | CX | WT | 2.32e-06 | 2.32e-06 | 2.32e-06 | 2.32e-06 | 2.32e-06 | CX | WT | 2.32e-09 | 2.32e-09 | 2.32e-09 | 2.32e-09 | 2.32e-09 | 2 | CX | 2.32e-09 | 175.12 | 45 | 102.35 | 11.85 | 12 | 32.106 | 0.58056 | 453.8197 | [19 empty] | 4 | 2.9232e-11 | 426.6 | 7.6e-13 | 245.065 | 34.0549 | 15.0768 | 75.3421 | 0.75403 |  | 2.75 | 2.3
|  | WT |  | 0 | 0 | 0 | 0 | 0 |  | PV | 175120 | 127360 | 89550 | 63680 | 47760 |  | PV | 175.12 | 127.36 | 89.55 | 63.68 | 47.76 |  | OX | 6.032e-10 | 12.584 | 23.4 | 25.415 | 3.9931 | 3.705 | 5.565 | 0.15094 |  | 1.62 | [18 empty] | 5 | 2.9232e-11 | 343.413 | 7.6e-13 | 202.515 | 28.3938 | 15.0768 | 94.1776 | 0.75403 |  | 2.35 | 1.97
|  | PV |  | 88 | 64 | 45 | 32 | 24 |  | HT | 45000 | 35000 | 35000 | 35000 | 35000 |  | HT | 45 | 35 | 35 | 35 | 35 | 3 | CX | 2.32e-09 | 127.36 | 35 | 77.05 | 11.85 | 12 | 48.159 | 0.59843 | 380.9323 | [19 empty] | 6 | 2.9232e-11 | 283.689 | 7.6e-13 | 173.765 | 24.6076 | 14.4486 | 113.0131 | 0.75403 |  | 2.09 | 1.76
|  | HT |  | 9 | 7 | 7 | 7 | 7 |  | CNV | 102350 | 77050 | 58650 | 46000 | 39100 |  | CNV | 102.35 | 77.05 | 58.65 | 46 | 39.1 |  | OX | 6.032e-10 | 9.152 | 18.2 | 25.415 | 3.9397 | 3.705 | 8.3476 | 0.15559 |  | 1.34 | [15 empty] | AS |  | Ctrl. | Gas | [8 empty] | 16.0327 |  | 0.04
|  | BTT |  | 25 | 25 | 20 | 25 | 21 |  | LYS | 11850 | 11850 | 11850 | 11850 | 11850 |  | LYS | 11.85 | 11.85 | 11.85 | 11.85 | 11.85 | 4 | CX | 2.32e-09 | 89.55 | 35 | 58.65 | 11.85 | 9.6 | 64.212 | 0.58056 | 337.6227 | [18 empty] | Ctmp. | Oil | [8 empty] | 14.9232 |  | 0.04
|  | LYS | Const. | 5 | 5 | 5 | 5 | 5 |  | BTT | 12000 | 12000 | 9600 | 12000 | 10080 |  | BTT | 12 | 12 | 9.6 | 12 | 10.08 |  | OX | 6.032e-10 | 6.435 | 18.2 | 25.415 | 3.8852 | 2.964 | 11.1301 | 0.15094 |  | 1.19 | [18 empty] | LPG | [8 empty] | 17.5273 |  | 0.05
|  | TNK | alter | 2 | 3 | 4 | 5 | 6 |  | TNK | 32106 | 48159 | 64212 | 80265 | 96318 |  | TNK | 32.106 | 48.159 | 64.212 | 80.265 | 96.318 | 5 | CX | 2.32e-09 | 63.68 | 35 | 46 | 11.85 | 12 | 80.265 | 0.58056 | 319.206 | [18 empty] | Ftr. | EL. | [8 empty] | 61.3613 |  | 0.17
|  | LCOSL |  | 1.62 | 1.34 | 1.19 | 1.12 | 1.09 |  | HB | 580.5561 | 598.4346 | 580.5561 | 580.5561 | 580.5561 |  | HB | 0.58056 | 0.59843 | 0.58056 | 0.58056 | 0.58056 |  | OX | 6.032e-10 | 4.576 | 18.2 | 25.415 | 3.8709 | 3.705 | 13.9126 | 0.15094 |  | 1.12 | [18 empty] | BLPG | [8 empty] | 20.0555 |  | 0.06
|  | COSL (wrong) |  | 0.82 | 0.68 | 0.6 | 0.57 | 0.55 | OX | WT | 6.032e-07 | 6.032e-07 | 6.032e-07 | 6.032e-07 | 6.032e-07 | OX | WT | 6.032e-10 | 6.032e-10 | 6.032e-10 | 6.032e-10 | 6.032e-10 | 6 | CX | 2.32e-09 | 47.76 | 35 | 39.1 | 11.85 | 10.08 | 96.318 | 0.58056 | 311.5119
|  | LCOSL (1.58%) |  | 1.32 | 1.11 | 0.98 | 0.93 | 0.91 |  | PV | 12584 | 9152 | 6435 | 4576 | 3432 |  | PV | 12.584 | 9.152 | 6.435 | 4.576 | 3.432 |  | OX | 6.032e-10 | 3.432 | 18.2 | 25.415 | 3.8181 | 3.1122 | 16.6951 | 0.15094 |  | 1.09
[10 empty] | HT | 23400 | 18200 | 18200 | 18200 | 18200 |  | HT | 23.4 | 18.2 | 18.2 | 18.2 | 18.2
[10 empty] | CNV | 25415 | 25415 | 25415 | 25415 | 25415 |  | CNV | 25.415 | 25.415 | 25.415 | 25.415 | 25.415
[10 empty] | LYS | 3993.1297 | 3939.717 | 3885.1577 | 3870.8719 | 3818.0869 |  | LYS | 3.9931 | 3.9397 | 3.8852 | 3.8709 | 3.8181
[10 empty] | BTT | 3705 | 3705 | 2964 | 3705 | 3112.2 |  | BTT | 3.705 | 3.705 | 2.964 | 3.705 | 3.1122
[10 empty] | TNK | 5565.04 | 8347.56 | 11130.08 | 13912.6 | 16695.12 |  | TNK | 5.565 | 8.3476 | 11.1301 | 13.9126 | 16.6951
[10 empty] | HB | 150.9446 | 155.593 | 150.9446 | 150.9446 | 150.9446 |  | HB | 0.15094 | 0.15559 | 0.15094 | 0.15094 | 0.15094
| Mono | [9 empty] | 2 | 3 | 4 | 5 | 6 |  |  | 2 | 3 | 4 | 5 | 6 |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | Undiscounted CX+OX | LCOSL
|  | UniSys | WT | F-2 | F-3 | F-4 | F-5 | F-6 | CX | WT | 208800 | 102080 | 90480 | 83520 | 76560 | CX | WT | 208.8 | 102.08 | 90.48 | 83.52 | 76.56 | 2 | CX | 208.8 | 1.99e-11 | 5e-13 | 124.2 | 15.405 | 12 | 32.106 | 0.58056 | 491.4067
|  | WT |  | 90 | 44 | 39 | 36 | 33 |  | PV | 1.99e-08 | 1.99e-08 | 1.99e-08 | 1.99e-08 | 1.99e-08 |  | PV | 1.99e-11 | 1.99e-11 | 1.99e-11 | 1.99e-11 | 1.99e-11 |  | OX | 54.288 | 1.43e-12 | 2.6e-13 | 25.415 | 9.1911 | 3.705 | 5.565 | 0.15094 |  | 1.72
|  | PV |  | 0 | 0 | 0 | 0 | 0 |  | HT | 5e-10 | 5e-10 | 5e-10 | 5e-10 | 5e-10 |  | HT | 5e-13 | 5e-13 | 5e-13 | 5e-13 | 5e-13 | 3 | CX | 102.08 | 1.99e-11 | 5e-13 | 71.3 | 15.405 | 10.56 | 48.159 | 0.59843 | 320.7233
|  | HT |  | 0 | 0 | 0 | 0 | 0 |  | CNV | 124200 | 71300 | 65550 | 62100 | 58650 |  | CNV | 124.2 | 71.3 | 65.55 | 62.1 | 58.65 |  | OX | 26.5408 | 1.43e-12 | 2.6e-13 | 25.415 | 8.9015 | 3.2604 | 8.3476 | 0.15559 |  | 1.12
|  | BTT |  | 25 | 22 | 25 | 14 | 14 |  | LYS | 15405 | 15405 | 15405 | 15405 | 15405 |  | LYS | 15.405 | 15.405 | 15.405 | 15.405 | 15.405 | 4 | CX | 90.48 | 1.99e-11 | 5e-13 | 65.55 | 15.405 | 12 | 64.212 | 0.59843 | 321.0249
|  | LYS | Const. | 13 | 13 | 13 | 13 | 13 |  | BTT | 12000 | 10560 | 12000 | 6720 | 6720 |  | BTT | 12 | 10.56 | 12 | 6.72 | 6.72 |  | OX | 23.5248 | 1.43e-12 | 2.6e-13 | 25.415 | 8.849 | 3.705 | 11.1301 | 0.15559 |  | 1.11
|  | TNK | alter | 2 | 3 | 4 | 5 | 6 |  | TNK | 32106 | 48159 | 64212 | 80265 | 96318 |  | TNK | 32.106 | 48.159 | 64.212 | 80.265 | 96.318 | 5 | CX | 83.52 | 1.99e-11 | 5e-13 | 62.1 | 15.405 | 6.72 | 80.265 | 0.59843 | 320.6749
|  | LCOSL (6.5%) |  | 1.72 | 1.12 | 1.11 | 1.11 | 1.13 |  | HB | 580.5561 | 598.4346 | 598.4346 | 598.4346 | 598.4346 |  | HB | 0.58056 | 0.59843 | 0.59843 | 0.59843 | 0.59843 |  | OX | 21.7152 | 1.43e-12 | 2.6e-13 | 25.415 | 8.7933 | 2.0748 | 13.9126 | 0.15559 |  | 1.11
|  | LCOSL (1.58%) |  | 1.43 | 0.93 | 0.93 | 0.93 | 0.95 | OX | WT | 54288 | 26540.8 | 23524.8 | 21715.2 | 19905.6 | OX | WT | 54.288 | 26.5408 | 23.5248 | 21.7152 | 19.9056 | 6 | CX | 76.56 | 1.99e-11 | 5e-13 | 58.65 | 15.405 | 6.72 | 96.318 | 0.59843 | 327.2471
[10 empty] | PV | 1.43e-09 | 1.43e-09 | 1.43e-09 | 1.43e-09 | 1.43e-09 |  | PV | 1.43e-12 | 1.43e-12 | 1.43e-12 | 1.43e-12 | 1.43e-12 |  | OX | 19.9056 | 1.43e-12 | 2.6e-13 | 25.415 | 8.7495 | 2.0748 | 16.6951 | 0.15559 |  | 1.13
[10 empty] | HT | 2.6e-10 | 2.6e-10 | 2.6e-10 | 2.6e-10 | 2.6e-10 |  | HT | 2.6e-13 | 2.6e-13 | 2.6e-13 | 2.6e-13 | 2.6e-13
[10 empty] | CNV | 25415 | 25415 | 25415 | 25415 | 25415 |  | CNV | 25.415 | 25.415 | 25.415 | 25.415 | 25.415
[10 empty] | LYS | 9191.1166 | 8901.5412 | 8848.9728 | 8793.3053 | 8749.5377 |  | LYS | 9.1911 | 8.9015 | 8.849 | 8.7933 | 8.7495
[10 empty] | BTT | 3705 | 3260.4 | 3705 | 2074.8 | 2074.8 |  | BTT | 3.705 | 3.2604 | 3.705 | 2.0748 | 2.0748
[10 empty] | TNK | 5565.04 | 8347.56 | 11130.08 | 13912.6 | 16695.12 |  | TNK | 5.565 | 8.3476 | 11.1301 | 13.9126 | 16.6951
[10 empty] | HB | 150.9446 | 155.593 | 155.593 | 155.593 | 155.593 |  | HB | 0.15094 | 0.15559 | 0.15559 | 0.15559 | 0.15559
| Mono | [9 empty] | 2 | 3 | 4 | 5 | 6 |  |  | 2 | 3 | 4 | 5 | 6 |  |  | WT | PV | HT | CNV | LYS | BTT | TNK | HB | Undiscounted CX+OX | LCOSL
|  | UniSys | PV | F-2 | F-3 | F-4 | F-5 | F-6 | CX | WT | 2.32e-08 | 2.32e-08 | 2.32e-08 | 2.32e-08 | 2.32e-08 | CX | WT | 2.32e-11 | 2.32e-11 | 2.32e-11 | 2.32e-11 | 2.32e-11 | 2 | CX | 2.32e-11 | 646.75 | 5e-13 | 345 | 26.07 | 12 | 32.106 | 0.59843 | 1159.482
|  | WT |  | 0 | 0 | 0 | 0 | 0 |  | PV | 646750 | 493520 | 398000 | 320390 | 264670 |  | PV | 646.75 | 493.52 | 398 | 320.39 | 264.67 |  | OX | 6.032e-12 | 46.475 | 2.6e-13 | 25.415 | 15.6419 | 3.705 | 5.565 | 0.15559 |  | 4.02
|  | PV |  | 325 | 248 | 200 | 161 | 133 |  | HT | 5e-10 | 5e-10 | 5e-10 | 5e-10 | 5e-10 |  | HT | 5e-13 | 5e-13 | 5e-13 | 5e-13 | 5e-13 | 3 | CX | 2.32e-11 | 493.52 | 5e-13 | 267.95 | 23.7 | 12 | 48.159 | 0.59843 | 933.1856
|  | HT |  | 0 | 0 | 0 | 0 | 0 |  | CNV | 345000 | 267950 | 219650 | 177100 | 148350 |  | CNV | 345 | 267.95 | 219.65 | 177.1 | 148.35 |  | OX | 6.032e-12 | 35.464 | 2.6e-13 | 25.415 | 14.171 | 3.705 | 8.3476 | 0.15559 |  | 3.23
|  | BTT |  | 25 | 25 | 24 | 24 | 23 |  | LYS | 26070 | 23700 | 21330 | 17775 | 15405 |  | LYS | 26.07 | 23.7 | 21.33 | 17.775 | 15.405 | 4 | CX | 2.32e-11 | 398 | 5e-13 | 219.65 | 21.33 | 11.52 | 64.212 | 0.59843 | 796.8928
|  | LYS | Const. | 22 | 20 | 18 | 15 | 13 |  | BTT | 12000 | 12000 | 11520 | 11520 | 11040 |  | BTT | 12 | 12 | 11.52 | 11.52 | 11.04 |  | OX | 6.032e-12 | 28.6 | 2.6e-13 | 25.415 | 12.7249 | 3.5568 | 11.1301 | 0.15559 |  | 2.75
|  | TNK | alter | 2 | 3 | 4 | 5 | 6 |  | TNK | 32106 | 48159 | 64212 | 80265 | 96318 |  | TNK | 32.106 | 48.159 | 64.212 | 80.265 | 96.318 | 5 | CX | 2.32e-11 | 320.39 | 5e-13 | 177.1 | 17.775 | 11.52 | 80.265 | 0.59843 | 684.3303
|  | LCOSL (6.5%) |  | 4.02 | 3.23 | 2.75 | 2.35 | 2.09 |  | HB | 598.4346 | 598.4346 | 598.4346 | 598.4346 | 598.4346 |  | HB | 0.59843 | 0.59843 | 0.59843 | 0.59843 | 0.59843 |  | OX | 6.032e-12 | 23.023 | 2.6e-13 | 25.415 | 10.6188 | 3.5568 | 13.9126 | 0.15559 |  | 2.35
|  | LCOSL (1.58%) |  | 3.34 | 2.69 | 2.3 | 1.97 | 1.76 | OX | WT | 6.032e-09 | 6.032e-09 | 6.032e-09 | 6.032e-09 | 6.032e-09 | OX | WT | 6.032e-12 | 6.032e-12 | 6.032e-12 | 6.032e-12 | 6.032e-12 | 6 | CX | 2.32e-11 | 264.67 | 5e-13 | 148.35 | 15.405 | 11.04 | 96.318 | 0.59843 | 610.2773
[10 empty] | PV | 46475 | 35464 | 28600 | 23023 | 19019 |  | PV | 46.475 | 35.464 | 28.6 | 23.023 | 19.019 |  | OX | 6.032e-12 | 19.019 | 2.6e-13 | 25.415 | 9.2026 | 3.4086 | 16.6951 | 0.15559 |  | 2.09
[10 empty] | HT | 2.6e-10 | 2.6e-10 | 2.6e-10 | 2.6e-10 | 2.6e-10 |  | HT | 2.6e-13 | 2.6e-13 | 2.6e-13 | 2.6e-13 | 2.6e-13
[10 empty] | CNV | 25415 | 25415 | 25415 | 25415 | 25415 |  | CNV | 25.415 | 25.415 | 25.415 | 25.415 | 25.415
[10 empty] | LYS | 15641.9179 | 14171.0441 | 12724.8511 | 10618.838 | 9202.5907 |  | LYS | 15.6419 | 14.171 | 12.7249 | 10.6188 | 9.2026
[10 empty] | BTT | 3705 | 3705 | 3556.8 | 3556.8 | 3408.6 |  | BTT | 3.705 | 3.705 | 3.5568 | 3.5568 | 3.4086
Alternatives | [9 empty] | TNK | 5565.04 | 8347.56 | 11130.08 | 13912.6 | 16695.12 |  | TNK | 5.565 | 8.3476 | 11.1301 | 13.9126 | 16.6951
| HBESs | Tri-RES | WT-PV-HT | 0.88 | [5 empty] | HB | 155.593 | 155.593 | 155.593 | 155.593 | 155.593 |  | HB | 0.15559 | 0.15559 | 0.15559 | 0.15559 | 0.15559
|  | Dual-RES | WT-PV | 1
|  |  | WT-HT | 0.98
|  |  | PV-HT | 1.09
| Alternatives | Control | Gas | 0.04
|  | Contemporary | Oil | 0.04
|  |  | LPG | 0.05
|  | Future | Electricity | 0.17
|  |  | BLPG | 0.06
|  | Gas | CAPEX | 398.4346
|  |  | OPEX | 103.593
|  |  | FEX | 15530.6571
|  | Oil | CAPEX | 951.1019
|  |  | OPEX | 247.2865
|  |  | FEX | 13724.7667
|  | LPG | CAPEX | 552.6673
|  |  | OPEX | 143.6935
|  |  | FEX | 16830.8981
|  | Electricity | CAPEX | 2345.623
|  |  | OPEX | 143.6935
|  |  | FEX | 58872.0256
|  | BLPG | CAPEX | 552.6673
|  |  | OPEX | 143.6935
|  |  | FEX | 19359.1446